[image: image1.jpg]


DECLARATION OF PERFORMANCE

According with Regulation (EU) №305/2011
EPS F90                                                                          

№ 20160726-04-D
	


1. Unique identification code of product type: 

EPS F90
EN 13163-T1-L2-W2-P3-S2-BS150-CS(10)90-DS(70,-)1-TR200-WL(T)1-MU40
	


2. Type, batch or serial number or other element allowing identification of the construction product as required under Article 11, paragraph 4 of Regulation (EU) №305/2011: 

EPS insulation boards
/batch number printed on the package/
	


3. Intended use or uses of the construction product in accordance with the applicable harmonized technical specification, as foreseen by the manufacturer:
Facade thermal insulation boards from expanded polystyrene.
	


4. Name, registered trade name or registered trade mark and contact address of the manufacturer, as required under Article 11, paragraph 4 of Regulation (EU) №305/2011: 

TERMOBILD Ltd.
5 „Lyuben Kondakov” Str., Gara Iskar, Sofia 1528, Bulgaria
tel. +359 (0) 2 979 99 71
e-mail: office@stipor.com
	  


5. Where applicable, name and contact address of the authorized representative whose mandate covers the tasks specified in Article 12, paragraph 2 of Regulation (EU) №305/2011: 
Not applicable.
	  


6. System or systems of assessment and verification of constancy of performance of the construction product as set out in Regulation (EU) №305/2011 for construction products, Annex V:

System 3
	  


7. In case of the declaration of performance concerning a construction product covered by harmonized standard: 

EN 13163:2012+A1:2015/NA:2015 - Thermal insulation products for buildings - Factory made products of expanded polystyrene (EPS) – Specification. National Annex.
The notified body 1950 - The Research Institute of Building Materials (NIISM), Sofia, has performed initial type testing, based on samples provided from the manufacturer and has issued Test Reports № 445/14.04.2016 and № 445/ОТП-009-24/14.04.2016.
	  


8. Declared performance
	Essential characteristics
	Performance 
	Harmonized technical specification

	EN 13163-T1-L2-W2-P3-S2-BS150-CS(10)90-DS(70,-)1-TR200-WL(T)1-MU40

	Reaction to fire
	Euroclass E
	EN 13501-1

	Density 
	15.6 kg/m3
	EN 13163

	Coefficient of heat transmission λ
t = 10°C 
	0.028 W/m.K
	EN 12667

	Heat resistance RD
	d [mm]
	20
	30
	40
	50
	60
	70
	80
	100
	120
	150

	
	RD [m2.K/W]
	0.71
	1.07
	1.43
	1.79
	2.14
	2.50
	2.86
	3.57
	4.29
	5.36

	Resistant to water vapour
diffusion μ
	39
	EN 12086

	Water absorption at partial submersion (48 hours)
	0.018 kg/m2
	EN 1609

	Water absorption at full submersion (7 days)
	0.82 %
	EN 12087

	Compressive strength – 

10% deformation 
	≥ 90 kPa

CS(10)90
	EN 13163

	Bending strength
	≥ 150 kPa

BS150
	EN 13163

	Tensile strength,

perpendicular to the surface
	≥ 200 kPa

TR200
	EN 13163


9. The performance of the product identified in points 1 and 2 is in conformity with the declared performance in point 8. This declaration of performance is issued under the sole responsibility of the manufacturer identified in point 4.

Signed for and on behalf of the manufacturer (authorized representative) by:
Sofia








Rosen Stankov:

23.01.2023







General Manager 

[image: image2.png]


[image: image3.png]











TERMOBILD Ltd.
[image: image4.png]


[image: image5.png]


www.terazid.com                                                                              [image: image1.jpg]     

